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DECLARATION OF PERFORMANCE
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Number: DoP/03

1. Unique identification code of the product type:
H05VVH-F
2. Type, batch or serial number or any other element allowing identification of the construction product as required pursuant to Article 11(4):
Multi Core Sheathed (Unarmored) Power Cable
3. Intended use or uses of the construction product, in accordance with the applicable harmonised technical specification, as foreseen by the manufacturer:
Supply of electricity in buildings and other civil engineering works with the objective of limiting the generation and spread of fire and smoke.
Used as lighting and power distribution cable, installed in areas where severe mechanical stress is avoided, can be laid in doors, out-doors, buried or in cable tranches.
4. Name, registered trade name or registered trade mark and contact address of the manufacturer as required pursuant to Article 11(5):
FERO  LTD. NEW NAME LLC RUSTAV CABLE
62 MSHENEBELI str. RUSTAVI, Georgia
5. Where applicable, name and contact address of the authorised representative whose mandate covers the tasks specified in Article 12(2):
N/A
6. System or systems of assessment and verification of constancy of performance of the construction product as set out in Annex V:
(AoC) System 3
7. In case of the declaration of performance concerning a construction product covered by a harmonised standard:
(name and identification number of the notified body) Efectis Era Avrasya Test ve Belgelendirme A.Ş. / 2184 performed the classification of reaction to fire in accordance with EN 13501-6:2014 test report under system 3 and issued ERA – 18 – 160 & FTST18520 test reports.
8. In case of the declaration of performance concerning a construction product for which a European Technical Assessment has been issued:
N/A
9. Declared performance:


	Essential characteristics
	Performance
	Harmonised Technical Specification

	Reaction to Fire
	Eca
	
EN 50575:2014/A1:2016

	Dangerous Substances
	NPD
	




10. The performance of the product identified in points 1 and 2 is in conformity with the declared performance in point 9. This declaration of performance is issued under the sole responsibility of the manufacturer identified in point 4.


FERO LTD.(NEW NAME RUSTAV CABLE)
62 MSHENEBELI STR.RUSTAVI GEORGIA T:+995 599 445 808

Signed for and on behalf of company by:
FIZULI NURIEVI
acting director

RUSTAVI, GEORGIA
15.03.2023
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